Overall Assessment

The structure is good and largely aligned with the final Valve + Boiler deliverables checklist we developed.
The Pre-Contract Hold Point is correctly placed and clearly worded. Most of the right items are present.

There are a few issues to tidy up.

Gate-by-Gate Review

| Gate | Volume | Assessment | Comments |
| --- | --- | --- | --- |
| Gate 0 | Low | Good | Clean and appropriate. Only the three essential high-level items. |
| Gate 1 | Medium | Good | Strong. Early WSG engagement and the “Generate Risk Register draft” button are excellent. |
| Gate 2 | Medium | Good | Correct level of detail. Temporary boiler strategy and outline mechanical strategy are properly included. |
| Gate 3 | Medium | Good | Correctly states “high-level strategy only – no detailed method statements”. Fire and HAI-SCRIBE items are appropriately flagged. |
| Gate 4 | High | Slightly too many individual cards | Content is mostly correct, but the screen feels long. Some items can be grouped. |

What is Working Well

- Pre-Contract Hold Point is prominent and correctly worded (both PFI/NHS cost approval and Water Safety Group approval required).

- Clear distinction between pre-appointment and post-appointment activity.

- Compliance tags (Fire Officer, Compliance Officer, Senior Responsible Owner) are useful.

- Early WSG awareness at Gate 1 is correctly separated from the formal SBAR/approval at Gate 4.

- Temporary boiler strategy appears at the right stages.

- PCI generation and contingency in the cost plan are present.

Issues to Address

1. Gate 4 feels long
There are many separate cards. Consider grouping related items, for example:

- Group all design outputs (flue, electrical, BMS, structural, insulation, water treatment) under one “Technical Design Package” card, or

- Keep them separate but collapse them under clear headings.

2. Minor missing emphasis

- Confirmation that the cost plan includes appropriate contingency .