Project 30033 : Ward 21 refurbishment

Overall Verdict

There is currently too much information in Gates 1, 2 and 3.

The main issue is that the system is pulling deliverables from two different checklists (Ward/Theatre Refurbishment and Nurse Call) and displaying them as one long list. This creates clutter, duplication and makes it harder for a Project Manager to see what is truly mandatory at each gate.

Gate-by-Gate Feedback

| Gate | Current Volume | Assessment | Recommendation |
| --- | --- | --- | --- |
| Gate 0 | Low–Medium | Good | Acceptable. Keep high-level only. |
| Gate 1 | High | Too much | Noticeable duplication and mixing of Ward + Nurse Call items. |
| Gate 2 | High | Too much | Same problem – concept items from both systems are listed without clear separation. |
| Gate 3 | Medium–High | Slightly too much | Better structure, but still mixes fabric, fire, nurse call and compliance. |
| Gate 4 | Medium | Good balance | Pre-Contract Hold Point is correctly prominent. Some detailed Nurse Call items could be post-appointment. |

Specific Issues Observed

- Mixing of systems
Ward fabric/finishes items and Nurse Call (SHTM 08-03) items appear interleaved in the same gates. This makes the screen feel crowded.

- Duplication

  - “Project Execution Plan & procurement strategy” appears twice in Gate 1.

  - “Outline specifications & preliminary cost plan” appears twice in Gate 2.

  - Multiple similar risk registers and clinical assessments.

- Level of detail
Some items in Gate 2 and Gate 3 are still a bit too granular for that stage (especially Nurse Call device schedules and zoning).

- Positive points

  - The red “PRE-CONTRACT HOLD POINT” in Gate 4 is excellent.

  - “Requires Fire Officer”, “Requires Compliance Officer” and “Requires Senior Responsible Owner” tags are very useful.

  - High-level vs detailed distinction is mostly respected (e.g. “no method statements”).

Recommended Improvements

Option A – Best for usability (Recommended)
Split each gate into clear sections:

- Project-wide / Common items

- Ward Refurbishment (Fabric & Finishes)

- Nurse Call System (SHTM 08-03)

Option B – Simpler
Create two separate gate workflows (one for Ward Refurbishment, one for Nurse Call) and only show the relevant one, or allow the user to filter.

Option C – Minimum change
Keep the current structure but:

- Remove obvious duplicates

- Move very detailed Nurse Call items (device schedules, detailed zoning, etc.) to post-Hold Point / Stage 4 after appointment

- Group similar items under collapsible headings

Summary

| Question | Answer |
| --- | --- |
| Too much information? | Yes – mainly in Gates 1–3 |
| Not enough information? | No |
| Biggest problem | Mixing of Ward Refurbishment + Nurse Call deliverables without clear separation |
| Biggest strength | Pre-Contract Hold Point + role-based tags (Fire Officer, Compliance, SRO) |