Deliverables Checklist Replacement of Heating or Ventilation Systems in a Hospital Aligned to RIBA Plan of Work 2020 & relevant SHTMs

This checklist is designed for projects involving the replacement of either heating systems (e.g. LTHW boilers, pipework, pumps, valves, headers) or ventilation systems (e.g. AHUs, ductwork, fans, filters, controls) in a hospital environment.

Primary SHTM / guidance references

| System Type | Key SHTMs |
| --- | --- |
| Heating systems | SHTM 00 (Policies & principles) SHTM 04-01 Parts A, B, D, E, G (Water safety – critical for LTHW closed systems, treatment, filtration, corrosion, flushing & sampling) SHTM 06-01 (Electrical services) |
| Ventilation systems | SHTM 00 (Policies & principles) SHTM 03-01 Part A (Design & validation) SHTM 03-01 Part B (Operational management & performance verification) SHTM 06-01 (Electrical services) |
| Both | CDM 2015, HSE ACOP L8 / HSG 274 (where water systems are involved), relevant BS/EN standards, CIBSE Guides, manufacturer requirements |

Notes

- Adapt the checklist to the specific system being replaced.

- Maintain continuous service (heating or ventilation) to clinical areas wherever possible through temporary plant or phased working.

- Engage the Water Safety Group (WSG) for heating projects and the Ventilation Safety Group (VSG) for ventilation projects as required.

Stage 0 – Strategic Definition

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Business case / need identification (system condition, clinical risk, energy performance) |  | SHTM 00 |
| Strategic brief & project outcomes (continuity of service, resilience, efficiency) |  | SHTM 00 |
| High-level clinical / operational impact assessment |  | SHTM 00 |

Stage 1 – Preparation and Briefing

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Project Brief (scope: heating or ventilation replacement, continuity requirements) |  | SHTM 00 |
| Existing system condition surveys & baseline data (performance, water quality or air quality) |  | SHTM 04-01 (heating) / SHTM 03-01 (ventilation) |
| Initial risk register (service continuity, infection control, access, temporary plant) |  | SHTM 00, CDM |
| Project Execution Plan & procurement strategy |  | — |

Stage 2 – Concept Design

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Concept design options (phased replacement, temporary plant strategy) |  | SHTM 00 |
| Outline services strategy (new plant, distribution, controls, resilience) |  | SHTM 04-01 (heating) / SHTM 03-01 Part A (ventilation) |
| Preliminary cost plan & outline specifications |  | — |
| Design risk assessment |  | CDM, SHTM 00 |

Stage 3 – Spatial Coordination

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Coordinated design (plant locations, distribution routes, access, temporary arrangements) |  | SHTM 00 |
| Spatial coordination with structure, electrical, BMS and other services |  | SHTM 06-01 |
| Updated cost plan, risk register & high-level phasing strategy |  | — |

Stage 4 – Technical Design

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Full technical design drawings & schematics (including phasing) |  | SHTM 04-01 Part A (heating) / SHTM 03-01 Part A (ventilation) |
| Detailed specifications for plant, distribution, controls and associated equipment |  | Relevant SHTM + manufacturer data |
| Water treatment / chemical regime (heating) or filter & hygiene strategy (ventilation) |  | SHTM 04-01 (heating) / SHTM 03-01 (ventilation) |
| BMS / controls philosophy and point schedules |  | SHTM 06-01 |
| Electrical design associated with new plant |  | SHTM 06-01 |
| Thermal insulation / duct insulation specification |  | — |
| Building Regulations / statutory compliance information |  | — |
| Pre-construction information & input to Construction Phase Plan |  | CDM |
| Designer’s Risk Assessment & residual risks |  | CDM, SHTM 00 |
| Tender documentation / Scope of Works / pricing schedules |  | — |

Stage 5 – Manufacturing and Construction

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Contractor method statements, detailed phasing & temporary works designs |  | — |
| Temporary plant installation, connection, testing & commissioning certificates (if used) |  | SHTM 00 |
| Material & equipment certificates |  | Relevant SHTM |
| System isolation, draining / isolation records (heating) or shutdown / isolation records (ventilation) |  | — |
| Installation of new plant, distribution systems, controls and associated works |  | Relevant SHTM |
| Water sampling / flushing / chemical treatment records (heating) or cleanliness & hygiene records (ventilation) |  | SHTM 04-01 (heating) / SHTM 03-01 (ventilation) |
| BMS installation, wiring, point-to-point testing & sequence proving |  | SHTM 06-01 |
| Electrical installation & test certificates (BS 7671) |  | SHTM 06-01 |
| Progress records, quality inspections & change control log |  | — |
| Decommissioning & strip-out records of redundant plant |  | — |

Stage 6 – Handover

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Full system testing & commissioning records |  | SHTM 04-01 Part A (heating) / SHTM 03-01 Part A (ventilation) |
| Performance verification data (flows, temperatures, pressures, air volumes, filtration efficiency etc.) |  | Relevant SHTM |
| As-fitted drawings & schematics |  | Relevant SHTM |
| Comprehensive O&M manuals |  | SHTM 00 + relevant system SHTM |
| Updated Health & Safety File |  | CDM |
| Training & demonstration records for estates / operational staff |  | SHTM 00 |
| Residual risk register |  | CDM |
| Practical Completion / handover certificate |  | — |
| Final baseline reports (water quality / corrosion monitoring for heating; validation reports for ventilation) |  | Relevant SHTM |
| Temporary plant decommissioning & removal certificates (if applicable) |  | — |

Stage 7 – Use

| Deliverable | Status / Evidence | Relevant SHTM / Notes |
| --- | --- | --- |
| Soft landings / post-occupancy evaluation (performance, resilience, energy) |  | SHTM 00 |
| Updated Water Safety Plan / Written Scheme (heating) or Ventilation management arrangements (ventilation) |  | SHTM 04-01 Parts B & G (heating) / SHTM 03-01 Part B (ventilation) |
| Ongoing monitoring & maintenance regime |  | Relevant SHTM Part B |
| Defects liability records & final account |  | — |
| Lessons learned report |  | SHTM 00 |

Cross-Stage / Continuous Deliverables

- Live Health & Safety File

- Project risk register (updated at each stage)

- Change control log

- Engagement with Water Safety Group (heating) or Ventilation Safety Group (ventilation)

- Evidence of compliance with manufacturer instructions

- Pressure Systems Safety Regulations (PSSR) updates where applicable (heating)